## Slide 1: Brief Examples of Purdue Efforts in Opioid Abuse Mitigation
Paul Griffin
Regenstrief Center for Healthcare Engineering
July 13, 2017

## Slide 2: 4 Presentations
Jacqueline Linnes Assistant Professor, School of Biomedical Engineering
Kyle Hultgren Director, Center for Medication Safety Advancement
Kinam Park Showalter Professor, School of Biomedical Engineering
Randy Hountz Director, Purdue Healthcare Advisors

## Slide 3: Brian Kelly
Director, Center on Research for Young People’s Health Department of Sociology and Anthropology
Areas of research interest include substance use, sexual health, HIV/AIDS, and comparative youth cultures.
Recent research projects include social contextual influences of prescription drug misuse among U.S. youth, the influence of policy contexts on youth substance use trajectories.

## Slide 4: Dave Ebert
Silicon Valley Professor of ECE; director of VACCINE
Areas of research in public safety and public health visual analytics.
Visual Analytics for Command, Control, and Interoperability Environments Center (VACCINE), is the Department of Homeland Security’s Center of Excellence in Visual and Data Analytics. Focuses on creating methods, tools, and applications to analyze and manage vast amounts of information for all mission areas of homeland security in the most efficient manner.
Represented today by Dr. Jao Surakitbanharn

## Slide 5: VALET)
Impacts:
  Analyze crime patterns and to connect strings of activities
  Investigate correlation factors
  Analyze time of day problems and improve accuracy of police record management system
  Novel statistical predictive model incorporated for planning
  Incorporates predictive alerts

## Slide 6: LINNES LAB
Glucose monitoring from breath
Real-time epidemiology for global health
Wearable biosensors to detect narcotics
Point-of-care molecular diagnostics
Dr. Jacqueline Linnes jlinnes@purdue.edu

## Slide 7: SMART Watch
Continuous biophysical monitoring for overdose detection
  Heart rate
  Blood oxygen saturation
  Respiratory rate
  Galvanic skin response
  Movement/Activity
  Location
Dr. Hugh Lee and Dr. Jacqueline Linnes
In collaboration with the British Columbia Center for Excellence in HIV/AIDS
Overdose Detected
Low
No
Locate Patient

## Slide 8: Auto Calibrating Heart Rate Sensor
Chart: Frequency (Hz)
Chart: Frequency(Hz)
Chart: Frequenc (Hz)
Chart: Frequency(Hz)
Heart rate (90 bpm)
Movement

## Slide 9: Skin impedance – Startle reflex
Chart: Time (ms)
startled

## Slide 10: Detecting Usage
Chart: Time (ms)
Sensor removed

## Slide 11
3 cm
Absorbent
pad
Electrodes
Electronics housing
Adhesive
bandage
Fluidic channels
COC
MOR
NEG
Wearable Sensor Platform for Drug Rehab
Adhesive patch to monitor drug use
Detect cocaine and opioids down to 3 ng/ul
Detection performed at least 4 times per 24 hours
Detection patch replaced once per 24 hours
Data storage for minimum 1 week
Wireless data transfer
In collaboration with Dr. Kenzie Preston, Senior Investigator at NIDA

## Slide 12: Direct Electrochemical Drug Sensing

## Slide 13: Direct Electrochemical Drug Sensing

## Slide 14
Direct Electrochemical Drug Sensing

## Slide 15: Signal Response to Cocaine
Chart: Voltage (V)
Time
w/ Cocaine
w/o Cocaine

## Slide 16: Consistent Signal Increase vs. Buffer
Chart: Cocaine Concentration (μg/mL)
| 0 | 1.7 | 3.4 | 5.0999999999999996 | 6.8 | 8.5 | 10.199999999999999 | 27.2
Ctrl | 0 | 0.028918 | 0.062402 | 0.088281 | 0.12177 | 0.11415 | 0.1659 | 0.066972
Exp | 0 | 0.12465 | 0.1687 | 0.17432 | 0.21087 | 0.2165 | 0.22587 | 0.23711
Control Electrode
Detection Electrode
Detection goal

## Slide 17: Future Opioid Abuse Targeting
Mu opioid Agonists (Targeted)
Mu opioid Antagonists
(Off-target)
Nalaxazone
Heroin
Codeine
Morphine
Naltrexone
Oxycodone
Nalaxone
Re-design DNA aptamer to bind opioid drugs

## Slide 18: Rapid Early Viral Load Detection of HIV & HCV
Blood sample
Detection results
MicroUSB phone powered
A low-cost paper-based nucleic acid diagnostic platform with robust sample preparation and molecular amplification in a familiar detection format.
Automated sequential sample capture, virion lysis, isothermal amplification, and detection
Localized heating of printed wax valves automates fluid flow
Visual lateral flow detection readout
MicroUSB powered heating of amplification reaction
Roll-to-roll manufactured molecular diagnostic
Sample inlet
and filter
Visual detection readout
Printed temperature
responsive valves
Waste
Pad
Amplification
reagents

## Slide 19
CMSA Update on Opioid Takeback Program
Kyle E. Hultgren, PharmD
Director | Center for Medication Safety Advancement

## Slide 20: Unintended Access to Opioids

## Slide 21: Take Back Programs
Laws can vary between states
Many pharmacies cite significant barriers to taking back unused medications
Costs are not insignificant
Not a lot of great options currently

## Slide 22: Vision for the Future
Pharmacy
Require financial assistance or payment
Incentivize their patients to use system
Financial Incentives
PPT (Pay per tablet) model
Matching funds?
Technology
100% image capture device for returns
Anonymity, large data available, access, real time

## Slide 23
Opioid Overdose-Reversal and Prevention Interventions
Kinam Park
Showalter Distinguished Professor
Weldon School of Biomedical Engineering

## Slide 24
The Risk of a Single 5-day Opioid Prescription
http://www.newsweek.com/cdc-opiate-addiction-572498
http://www.vox.com/2017/3/18/14954626/one-simple-way-to-curb-opioid-overuse-prescribe-them-for-3-days-or-less
States are now cracking down on opioid prescriptions.

## Slide 25
Examples of current formulations designed to deter tampering
Technologies | Opioids (Company)
Physical barriers | 
ADPREM technology (Egalet): Erosion matrix | Morphine ER, Oxycodone ER(Egalet)
DETERx technology (COL-003): Multi-particulate waxy matrix | Oxycodone(Collegium Pharm)
EDACS matrix (EDACS): Extruded formulation | Tramadol(Akela Pharmaceuticals)
INTAC /TIMERx technology (Opana): Push-pull osmotic pump | Oxymorphone(Endo/Grünenthal)
ORADUR technology (Remoxy): Viscous gel formulation | Oxycodone (Pain Ther./King/Pfizer)
OROS technology (Exalgo): Crush-resistant property | Hydromorphone (CombinatoRx)
OTR (Other Time Release) technology: Gel-forming property | Oxycodone OTR(Purdue Pharma)
ReXista technology (ReXista): Alcohol resistant property | Oxycodone ER(IntelliPharmaCeutics)
SABER technology (Remoxy): Viscous gel | Oxycodone ER(King Pharm)
SECUREL technology (TQ-1015): Sustained release | Tramadol(TheraQuest)
Aversion (Chemical deterrent barrier) | 
Capsaicin causing intense burning discomfort | 
Niacin (AcuroxOxyADF): Unpleasant effects of niacin | Oxycodone IR+niacin (King/Acura)
Sodium lauryl sulfate (Oxecta) | Oxycodone IR+SLS (King)
Antagonist Combinations | 
Abuse-resistant technology (OxyNal): Antagonist | Oxycodone ER+naltrexone(Elite Pharm)
Sequestered antagonist technology (EMBEDA): Antagonist | Morphine ER+naltrexone(Alpha/King)
Non-sequestered antagonist technology (TALWIN NX) | Pentazocine+Naloxone(Sanofi-Aventis)

## Slide 26
Urgent Needs for Effective Abuse-Deterrent Formulations & Devices
Abuse-Deterrent Formulations & Devices
Smart Devices
Intervention
Smart Pills
Treatment
Snorting Prevention
Extraction Prevention
Smoking Prevention
Quorum Activation
Long acting MP system
Implantable triggered-
release
Electro-ceutical
Wearable
Device

## Slide 27
Cutting Edge Science Meeting Series to End the Opioid Crisis
Medications Development for Opioid Use Disorders and Overdose Prevention/Reversal
The Role of Science in Addressing the Opioid Crisis
Nora D. Volkow, M.D., and Francis S. Collins, M.D., Ph.D.
NEJM 2017
Treatments for Opioid Addiction
Nonaddictive Treatments for Chronic Pain
Overdose-Reversal Interventions

## Slide 28
Injectable Long-Acting Formulations Approved by the FDA
1 month MP 1998
20 mg/month
1 month MP 2006
380 mg/month
2 weeks MP 2001
1 mg/2 weeks
1 month MP 2000
60 mg/month
MP: Microparticle.
SI: Solid implant.
IS: In Situ forming implant
1, 3 months SI 1989
3.6 mg/month (Dec 29)
1 week MP 2012, 2 mg/week
1 month MP 1999
13.5 mg/month (Discontinued)
1-4 months MP 1989
7.5 mg/month
1,3,4,6 months IS 2002
7.5 mg/month
3 months SI 2009
0.7 mg/3 months
2, 3 months SI 2000
6.3 mg/2 months
Buserelin acetate
1 week, IS 1998
50 mg/week
6 months MP 2010
3.75 mg/month
1 month MP 2000
3.75 mg/month
3 month, MP 2012
3.75 mg/month
1 month, MP 2014
20, 40, or 60 mg/month
(Jan 26)
1 month, MP 2015
2 weeks MP 2003
25 mg/2 weeks

## Slide 29
Overdose-Reversal Interventions
Dunbar, J.L. Alcohol Clin. Exp. Res. 30: 480-490, 2006.
NARCAN (naloxone)
The serum half-life in adults: 1 hour
0.4~2.0 mg IV, SubQ, IM
Naltrexone
The serum half-life in adults: 4 hours
50 mg oral daily
IM 380 mg every 4 weeks (14 mg/day)
Probuphine 6-Mo Implant (ProNeura Technology):
80 mg buprenorphine HCl in EVA extruded matrix system. 26 mm long x 2.5 mm diameter (2016)
74.2 mg buprenorphine in each of 4 implants. Removal Required. US7736665

## Slide 30
≈
Opioid Drug
Naltrexone
≈
Drug
Released
Time (Day)
0 1 2 3 4 5 6 7 8 9 10 ≥ 30
Long-Acting Depot Formulations
Injectable Depot Systems for Opioid Drugs and Naltrexone

## Slide 31
Naltrexone
Released
Time (Week)
0 1 2 3
Injectable Depot Systems for Naltrexone
100%

## Slide 32
Randy Hountz
Director
Purdue Healthcare Advisors

## Slide 33: PHA/RCHE Approach/Efforts
Systems Approach to Indiana’s Opioid Challenge
Fusion of systems thinking, strategic doing, and lean implementation
Briefly Review a Proposal Being Submitted 8/1

## Slide 34: A Systems Approach
Phase I – Scope/Current State
Define success – targets, metrics
Select regions
Data – needs/analysis
Funding team
Phase II – Regional Prototyping
Strategic Doing
ID/alignment of resources
Regional action plans
Implementation – lean and other
Phase III – Deployment/Scale
Statewide rollout
Deployment support
Statewide demand/capacity management

## Slide 35: Phase I – Scope/Current State
Statewide agreement on outcome metrics and improvement targets
Data availability/needs
Analysis of gaps (medical providers, behavioral health providers, substance abuse assistance, etc.)
Determine pilot regions
Obtain funding
5 workstreams
  Project Management, Strategic Doing, Implementation, Funding Solicitation, Training/Scalability

## Slide 36: Phase II - Regional Prototyping
Strategic Doing (Purdue Agile Strategy Lab)
  Systematic community collaboration and experimentation
  Shared objectives/commitment to action
  Wide array of community successes
    Flint lead water crisis
    Health communities – Australia
    Rural economic development
Funding – SBIR 3-tier funding approach
Increased capacity via process improvement

## Slide 37: Phase III - Deployment/Scale/Research
Scale to other regions
Statewide demand/capacity management
Funding model – co-funding via SBIR approach
Potential research examples
  Predictive model for INSPECT in various settings
  Estimating comparative effectiveness of various opioid interventions (drug courts, MAT, etc.)
  Risk stratification to identify high-risk patients

## Slide 38: Capacity Example
Mental Health Provider
  Project 1 – decreasing wait time for visit
    Visit wait times from 18 days to under 3
    Liberated capacity with standard work and multi-practice collaboration and change management
  Project 2 – fatherhood initiative
    Average time referral to consent from 24 to 8 days
    New billable services to be sustainable
    Refined processes with standard work, better resource utilization, and change management

## Slide 39: Opioids Proposal Example
DHHS – Office of Minority Health
Four Pronged Approach in Fayette County
  Strategic Doing
  Provider prescribing training – CME/MOC program
    Includes QI, patient education, INSPECT usage, risk assessing for misuse
  Process improvement – increase capacity
  Motivational interviewing – increase skills via microlearning approach